## CS40
pipe size/type | Model | Trasnducer Size | Direct -Z | Reflect - V
2 inch | WTS-358 | Standard S1 | 2.25" | 4.26"
2 inch | WTS-358 | Standard S1 | 1.25" | 3.26"
2 1/2 inch | WTS-358 | Standard S1 | 2.93" | 4.13"
2 1/2 inch | WTS-358 | Standard S1 | 1.73" | 5.33"
3 inch | WTS-358 | Standard S1 | 3.58" | 5.07"
3 inch | WTS-358 | Standard S1 | 2.09" | 6.56"
3 1/2 inch | WTS-358 | Standard S1 | 4.11" | 5.83"
3 1/2 inch | WTS-358 | Standard S1 | 2.38" | 7.56"
4 INCH | WTS-358 | Clamp On TM1 | 2.96" | 4.92"
4 inch | WTS-358 | Clamp On TM1 | 1.01" | 6.88"
5 inch | WTS-358 | Clamp On TM1 | 4.08" | 6.529"
5 inch | WTS-358 | Clamp On TM1 | 1.62" | 8.98"
6 inch | WTS-358 | Clamp On TM1 | 5.19" | 8.14"
6 inch | WTS-358 | Clamp On TM1 | 2.25" | 8.14"
8 inch | WTS-358 | Clamp On TM1 | 7.3" | 11.18"
8 inch | WTS-358 | Clamp On TM1 | 3.42" | 15.06"
10 inch | WTS-358 | Clamp On TM1 | 9.53" | 14.4"
10 inch | WTS-358 | Clamp On TM1 | 4.66" | 19.27"
12 inch | WTS-358 | Clamp On TM1 | 11.51" | 17.34"
12 inch | WTS-358 | Clamp On TM1 | 5.68" | 23.18"
14 inch | WTS-358 | Clamp On TM1 | 12.73" | 19.17"
14 inch | WTS-358 | Clamp On TM1 | 6.29" | 25.61"
16 inch | WTS-358 | Clamp On TM1 | 14.67" | 22.09"
16 inch | WTS-358 | Clamp On TM1 | 7.26" | 29.49"
18 inch | WTS-358 | Clamp On TM1 | 16.61" | 25"
18 inch | WTS-358 | Clamp On TM1 | 8.23" | 33.38"
20 inch | WTS-358 | Clamp On TM1 | 18.56" | 27.91"
20 inch | WTS-358 | Clamp On TM1 | 9.2" | 37.27"
24 inch | WTS-358 | Clamp On TM1 | 22.45" | 33.75"
24 inch | WTS-358 | Clamp On TM1 | 11.15" | 45.05"

## CS80
pipe size/type | Model | Trasnducer Size | Direct -Z | Reflect - V
2 inch | WTS-358 | Standard S1 | 2.25" | 4.26"
2 inch | WTS-358 | Standard S1 | 1.25" | 3.26"
2 1/2 inch | WTS-358 | Standard S1 | 2.93" | 4.13"
2 1/2 inch | WTS-358 | Standard S1 | 1.73" | 5.33"
3 inch | WTS-358 | Standard S1 | 3.58" | 5.07"
3 inch | WTS-358 | Standard S1 | 2.09" | 6.56"
3 1/2 inch | WTS-358 | Standard S1 | 4.11" | 5.83"
3 1/2 inch | WTS-358 | Standard S1 | 2.38" | 7.56"
4 INCH | WTS-358 | Clamp On TM1 | 2.96" | 4.92"
4 inch | WTS-358 | Clamp On TM1 | 1.01" | 6.88"
5 inch | WTS-358 | Clamp On TM1 | 4.08" | 6.529"
5 inch | WTS-358 | Clamp On TM1 | 1.62" | 8.98"
6 inch | WTS-358 | Clamp On TM1 | 5.19" | 8.14"
6 inch | WTS-358 | Clamp On TM1 | 2.25" | 8.14"
8 inch | WTS-358 | Clamp On TM1 | 7.3" | 11.18"
8 inch | WTS-358 | Clamp On TM1 | 3.42" | 15.06"
10 inch | WTS-358 | Clamp On TM1 | 9.53" | 14.4"
10 inch | WTS-358 | Clamp On TM1 | 4.66" | 19.27"
12 inch | WTS-358 | Clamp On TM1 | 11.51" | 17.34"
12 inch | WTS-358 | Clamp On TM1 | 5.68" | 23.18"
14 inch | WTS-358 | Clamp On TM1 | 12.73" | 19.17"
14 inch | WTS-358 | Clamp On TM1 | 6.29" | 25.61"
16 inch | WTS-358 | Clamp On TM1 | 14.67" | 22.09"
16 inch | WTS-358 | Clamp On TM1 | 7.26" | 29.49"
18 inch | WTS-358 | Clamp On TM1 | 16.61" | 25"
18 inch | WTS-358 | Clamp On TM1 | 8.23" | 33.38"
20 inch | WTS-358 | Clamp On TM1 | 18.56" | 27.91"
20 inch | WTS-358 | Clamp On TM1 | 9.2" | 37.27"
24 inch | WTS-358 | Clamp On TM1 | 22.45" | 33.75"
24 inch | WTS-358 | Clamp On TM1 | 11.15" | 45.05"

## Copper - Type L
pipe size/type | Model | Trasnducer Size | Direct -Z | Reflect - V
2 inch | WTS-358 | Standard S1 | 2.25" | 4.26"
2 inch | WTS-358 | Standard S1 | 1.25" | 3.26"
2 1/2 inch | WTS-358 | Standard S1 | 2.93" | 4.13"
2 1/2 inch | WTS-358 | Standard S1 | 1.73" | 5.33"
3 inch | WTS-358 | Standard S1 | 3.58" | 5.07"
3 inch | WTS-358 | Standard S1 | 2.09" | 6.56"
3 1/2 inch | WTS-358 | Standard S1 | 4.11" | 5.83"
3 1/2 inch | WTS-358 | Standard S1 | 2.38" | 7.56"
4 INCH | WTS-358 | Clamp On TM1 | 2.96" | 4.92"
4 inch | WTS-358 | Clamp On TM1 | 1.01" | 6.88"
5 inch | WTS-358 | Clamp On TM1 | 4.08" | 6.529"
5 inch | WTS-358 | Clamp On TM1 | 1.62" | 8.98"
6 inch | WTS-358 | Clamp On TM1 | 5.19" | 8.14"
6 inch | WTS-358 | Clamp On TM1 | 2.25" | 8.14"
8 inch | WTS-358 | Clamp On TM1 | 7.3" | 11.18"
8 inch | WTS-358 | Clamp On TM1 | 3.42" | 15.06"
10 inch | WTS-358 | Clamp On TM1 | 9.53" | 14.4"
10 inch | WTS-358 | Clamp On TM1 | 4.66" | 19.27"
12 inch | WTS-358 | Clamp On TM1 | 11.51" | 17.34"
12 inch | WTS-358 | Clamp On TM1 | 5.68" | 23.18"
14 inch | WTS-358 | Clamp On TM1 | 12.73" | 19.17"
14 inch | WTS-358 | Clamp On TM1 | 6.29" | 25.61"
16 inch | WTS-358 | Clamp On TM1 | 14.67" | 22.09"
16 inch | WTS-358 | Clamp On TM1 | 7.26" | 29.49"
18 inch | WTS-358 | Clamp On TM1 | 16.61" | 25"
18 inch | WTS-358 | Clamp On TM1 | 8.23" | 33.38"
20 inch | WTS-358 | Clamp On TM1 | 18.56" | 27.91"
20 inch | WTS-358 | Clamp On TM1 | 9.2" | 37.27"
24 inch | WTS-358 | Clamp On TM1 | 22.45" | 33.75"
24 inch | WTS-358 | Clamp On TM1 | 11.15" | 45.05"

## PVC - 40
pipe size/type | Model | Trasnducer Size | Direct -Z | Reflect - V
2 inch | WTS-358 | Standard S1 | 2.25" | 4.26"
2 inch | WTS-358 | Standard S1 | 1.25" | 3.26"
2 1/2 inch | WTS-358 | Standard S1 | 2.93" | 4.13"
2 1/2 inch | WTS-358 | Standard S1 | 1.73" | 5.33"
3 inch | WTS-358 | Standard S1 | 3.58" | 5.07"
3 inch | WTS-358 | Standard S1 | 2.09" | 6.56"
3 1/2 inch | WTS-358 | Standard S1 | 4.11" | 5.83"
3 1/2 inch | WTS-358 | Standard S1 | 2.38" | 7.56"
4 INCH | WTS-358 | Clamp On TM1 | 2.96" | 4.92"
4 inch | WTS-358 | Clamp On TM1 | 1.01" | 6.88"
5 inch | WTS-358 | Clamp On TM1 | 4.08" | 6.529"
5 inch | WTS-358 | Clamp On TM1 | 1.62" | 8.98"
6 inch | WTS-358 | Clamp On TM1 | 5.19" | 8.14"
6 inch | WTS-358 | Clamp On TM1 | 2.25" | 8.14"
8 inch | WTS-358 | Clamp On TM1 | 7.3" | 11.18"
8 inch | WTS-358 | Clamp On TM1 | 3.42" | 15.06"
10 inch | WTS-358 | Clamp On TM1 | 9.53" | 14.4"
10 inch | WTS-358 | Clamp On TM1 | 4.66" | 19.27"
12 inch | WTS-358 | Clamp On TM1 | 11.51" | 17.34"
12 inch | WTS-358 | Clamp On TM1 | 5.68" | 23.18"
14 inch | WTS-358 | Clamp On TM1 | 12.73" | 19.17"
14 inch | WTS-358 | Clamp On TM1 | 6.29" | 25.61"
16 inch | WTS-358 | Clamp On TM1 | 14.67" | 22.09"
16 inch | WTS-358 | Clamp On TM1 | 7.26" | 29.49"
18 inch | WTS-358 | Clamp On TM1 | 16.61" | 25"
18 inch | WTS-358 | Clamp On TM1 | 8.23" | 33.38"
20 inch | WTS-358 | Clamp On TM1 | 18.56" | 27.91"
20 inch | WTS-358 | Clamp On TM1 | 9.2" | 37.27"
24 inch | WTS-358 | Clamp On TM1 | 22.45" | 33.75"
24 inch | WTS-358 | Clamp On TM1 | 11.15" | 45.05"

## PVC - 80
pipe size/type | Model | Trasnducer Size | Direct -Z | Reflect - V
2 inch | WTS-358 | Standard S1 | 2.25" | 4.26"
2 inch | WTS-358 | Standard S1 | 1.25" | 3.26"
2 1/2 inch | WTS-358 | Standard S1 | 2.93" | 4.13"
2 1/2 inch | WTS-358 | Standard S1 | 1.73" | 5.33"
3 inch | WTS-358 | Standard S1 | 3.58" | 5.07"
3 inch | WTS-358 | Standard S1 | 2.09" | 6.56"
3 1/2 inch | WTS-358 | Standard S1 | 4.11" | 5.83"
3 1/2 inch | WTS-358 | Standard S1 | 2.38" | 7.56"
4 INCH | WTS-358 | Clamp On TM1 | 2.96" | 4.92"
4 inch | WTS-358 | Clamp On TM1 | 1.01" | 6.88"
5 inch | WTS-358 | Clamp On TM1 | 4.08" | 6.529"
5 inch | WTS-358 | Clamp On TM1 | 1.62" | 8.98"
6 inch | WTS-358 | Clamp On TM1 | 5.19" | 8.14"
6 inch | WTS-358 | Clamp On TM1 | 2.25" | 8.14"
8 inch | WTS-358 | Clamp On TM1 | 7.3" | 11.18"
8 inch | WTS-358 | Clamp On TM1 | 3.42" | 15.06"
10 inch | WTS-358 | Clamp On TM1 | 9.53" | 14.4"
10 inch | WTS-358 | Clamp On TM1 | 4.66" | 19.27"
12 inch | WTS-358 | Clamp On TM1 | 11.51" | 17.34"
12 inch | WTS-358 | Clamp On TM1 | 5.68" | 23.18"
14 inch | WTS-358 | Clamp On TM1 | 12.73" | 19.17"
14 inch | WTS-358 | Clamp On TM1 | 6.29" | 25.61"
16 inch | WTS-358 | Clamp On TM1 | 14.67" | 22.09"
16 inch | WTS-358 | Clamp On TM1 | 7.26" | 29.49"
18 inch | WTS-358 | Clamp On TM1 | 16.61" | 25"
18 inch | WTS-358 | Clamp On TM1 | 8.23" | 33.38"
20 inch | WTS-358 | Clamp On TM1 | 18.56" | 27.91"
20 inch | WTS-358 | Clamp On TM1 | 9.2" | 37.27"
24 inch | WTS-358 | Clamp On TM1 | 22.45" | 33.75"
24 inch | WTS-358 | Clamp On TM1 | 11.15" | 45.05"

## PVC - 80 (2)
pipe size/type | Model | Trasnducer Size | Direct -Z | Reflect - V
2 inch | WTS-358 | Standard S1 | 2.25" | 4.26"
2 inch | WTS-358 | Standard S1 | 1.25" | 3.26"
2 1/2 inch | WTS-358 | Standard S1 | 2.93" | 4.13"
2 1/2 inch | WTS-358 | Standard S1 | 1.73" | 5.33"
3 inch | WTS-358 | Standard S1 | 3.58" | 5.07"
3 inch | WTS-358 | Standard S1 | 2.09" | 6.56"
3 1/2 inch | WTS-358 | Standard S1 | 4.11" | 5.83"
3 1/2 inch | WTS-358 | Standard S1 | 2.38" | 7.56"
4 INCH | WTS-358 | Clamp On TM1 | 2.96" | 4.92"
4 inch | WTS-358 | Clamp On TM1 | 1.01" | 6.88"
5 inch | WTS-358 | Clamp On TM1 | 4.08" | 6.529"
5 inch | WTS-358 | Clamp On TM1 | 1.62" | 8.98"
6 inch | WTS-358 | Clamp On TM1 | 5.19" | 8.14"
6 inch | WTS-358 | Clamp On TM1 | 2.25" | 8.14"
8 inch | WTS-358 | Clamp On TM1 | 7.3" | 11.18"
8 inch | WTS-358 | Clamp On TM1 | 3.42" | 15.06"
10 inch | WTS-358 | Clamp On TM1 | 9.53" | 14.4"
10 inch | WTS-358 | Clamp On TM1 | 4.66" | 19.27"
12 inch | WTS-358 | Clamp On TM1 | 11.51" | 17.34"
12 inch | WTS-358 | Clamp On TM1 | 5.68" | 23.18"
14 inch | WTS-358 | Clamp On TM1 | 12.73" | 19.17"
14 inch | WTS-358 | Clamp On TM1 | 6.29" | 25.61"
16 inch | WTS-358 | Clamp On TM1 | 14.67" | 22.09"
16 inch | WTS-358 | Clamp On TM1 | 7.26" | 29.49"
18 inch | WTS-358 | Clamp On TM1 | 16.61" | 25"
18 inch | WTS-358 | Clamp On TM1 | 8.23" | 33.38"
20 inch | WTS-358 | Clamp On TM1 | 18.56" | 27.91"
20 inch | WTS-358 | Clamp On TM1 | 9.2" | 37.27"
24 inch | WTS-358 | Clamp On TM1 | 22.45" | 33.75"
24 inch | WTS-358 | Clamp On TM1 | 11.15" | 45.05"

## Index
Pipe Sizes | Pipe Materials | Liquid Type | Flow/Energy | Meter type | Mounting/Installation | COMMUNICATION | Results
1/2 inch | CS40 | Hot Water | GPM | Ultrasonic | Inline | MODBUS | Meter Needs Repair/Replacement
3/4 inch | CS80 | Chilled Water | KGPM | Magnetic | Clamp on V | BACNET | Meter is calibrated within specifications
1 inch | SS sch5 | Condenser Water | BTU | Mechanical | Clamp on Z | 4-20ma | Calibration Not Succesful
1 1/4 inch | SS sch10 | Domestic Water | 10x BTU | Pressure | Insert | PULSE | N/A
1 1/2 inch | SS sch 40 | Glycol 30/70 | 100x BTU | Steam | N/A | N/A
1 3/4 inch | Copper | Glycol 40/60 | KBTU | N/A
2 inch | PVC 40 | Waste | 10KBTU
2 1/2 inch | PVC 80 | Steam | 100KTBU
3 inch | Ductile Iron 40 | N/A | MBTU
3 1/2 inch | Ductile Iron 80 |  | TONNES
4 inch | N/A |  | KTONNES
5 inch |  |  | 10KTONNES
6 inch |  |  | 100KTONNES
8 inch |  |  | N/A
10 inch
12 inch
14 inch
16 inch
18 inch
20 inch
24 inch
N/A